Micro Climatic Environmental Conditions inside Greenhouses with Built-in Solar Distillation System

By

Hassan E. S. Fath* and Khaled Y. Zakaria**

Mechanical Eng. Dept., Faculty of Eng., Alex University, Alex., Egypt

(*Corresponding Author, e-mail: h_elbanna_f @ hotmail.com, ** e-mail: khaledzakaria@hotmail.com)

# Abstract

A numerical study has been carried out to investigate the micro climatic environmental conditions inside a greenhouse-distillation system, self sufficient of irrigating water. The greenhouse consists of the planting cavity, circulating air channels and roof solar distiller for the production of the rather modest rate of irrigating water. A turbulent - steady state flow, energy and humidity concentration equations have been solved using the numerical code FLUENT 6.1. Velocity vectors, steam function, isotherms and temperature and humidity distribution inside the greenhouse present the resultant micro climatic environmental conditions. The results have been presented for hot days, where cold and humid air (from evaporative cooler) enters the greenhouse from one side and circulated through the partially porous cavity (representing the plants) and flows through air flow channels and leaves from a vertical thermal chimney. The results show that, with the selected inlet flow conditions, the flow velocity, temperature, and relative humidity can be within comfort values for plants growth. The effect of some important environmental, design, and operational parameters on greenhouse microclimatic conditions has also been highlighted.

.

Key Words: Agriculture, Greenhouse, CFD, HVAC